## PROCUREMENT
EXTENSION TO NEYRIZ 66/20 KV SUBSTATION Price List NRZ-ANJ-SS-SPC-151-Z |  | جدول مقادیر و قیمتهای بخش تامین تجهیزات و عملیات نصب، تست و راه اندازی توسعه دو فیدر خروجی 20 کیلوولت پست 66/20 کیلوولت نیریز
ITEM | DESCRIPTION | UNIT | QTY (1) | UNIT PRICE FOR PURCHASE EQUIPMENT RIALS (2) | UNIT PRICE FOR TRANSPORTATION INSURANCE & ETC RIALS (3) | UNIT PRICE FOR ERECTION & OMMISIONING, TEST RIALS (4) | TOTAL COST FOR PURCHASE EQUIPMENT (RIALS) (5)=1*2 | TOTAL COST FOR TRANSPORTATION INSURANCE & ETC (RIALS) (6)=1*3 | TOTAL COST FOR COMMISIONING & TEST (RIALS) (7)=1*4 | TOTAL COST (RIALS) (8)=(5+6+7)
1 | 20KV DRAWABLE METAL CLAD PANELS CONSISTING OF VACCUM CIRCUIT BREAKER, CURRENT TRANSFORMERS, EARTHING SWITCHE, CORE BALANCE CT, ALL PROTECTION RELAYS, METERING & INDICATING DEVICES, ENERGY METER, DISCREPANCY AND OTHER SWITCHES, PUSH BUTTONS, POSITION INDICATORS, NEON INDICATING LAMP AND ETC. FOR OUTGOING FEEDERS AS PER DRAWINGS & SPECIFICATION | SET | 2
2 | ADAPTOR METAL CLAD PANELS FOR CONNECTION NEW MV PANELS TO EXISTING MV PANELS AS PER DRAWINGS & SPECIFICATION | SET | 2
3 | EARTHING GRID, RISERES, CLAMPS, JOINTS, CONNECTIONS, BARS, ETC NDEED FOR CONNECTING ALL EQUIPMENT, STRUCTURES, PANELS, ... TO GRONDING MESH AS PER DRAWINGS & SPECIFICATION | LOT | 1
4 | POWER CABLE 24KV, XLPE, WITH MIN. (1×185) mm2 SINGLE CORE, COPPER CONDUCTOR AS PER DRAWINGS & SPECIFICATION | M | 2000
5 | SINGLE PHASE INDOOR TYPE 24KV CABLE SEALING ENDS AND ACCESSORIES FOR 185mm2 XLPE COPPER CABLES | NO. | 12
6 | SINGLE PHASE OUTDOOR TYPE 24KV CABLE SEALING ENDS AND ACCESSORIES FOR 185mm2 XLPE COPPER CABLES | NO. | 12
7 | CONTROL, PROTECTION, CT, CVT AND POWER CABLE | LOT | 1
8 | MODIFICATION CONTROL SYSTEM AS PER DRAWINGS & SPECIFICATION & REQUIRMENTS | LOT | 1
9 | ENERGY METTER | SET | 2
10 | MODEM APN | SET | 1
11 | MODIFICATION OF HMI SYSTEM | LOT | 1
12 | MODIFICATION OF SCADA INTERFACE PANEL | LOT | 1
13 | FIBER OPTIC CABLE | LOT | 1
14 | SWITCH AND OTHER EQUIPMENT RELATED TO COMMUNICATION ISSUES IS NECESSARY BASED ON THE OF IRAN GRID MANAGEMENT CO (IGMC) AND INFORMATION RELATED TO THE DTT SIGNAL | LOT | 1
15 | EQUIPMENTS LABEL & SUBSTATION SIGNS | LOT | 1
16 | CIVIL WORKS FOR MODIFICATION OF 20kV SWITCHGEAR BUILDING AS PER DRAWINGS, SPECIFICATIONS & REQUIREMENTS | LOT | 1
17 | INDOOR & OUTDOOR CABLE TRENCH AS PER DRAWINGS, SPECIFICATIONS & REQUIREMENTS | LOT | 1
18 | ELECTRICAL UTILITIES WORKS FOR BUILDING EXTENSION | LOT | 1
19 | MECHANICAL UTILITIES WORKS FOR BUILDING EXTENSION | LOT | 1
20 | SITE PREPARATION | LOT | 1
21 | SITE MOBILZATION | LOT | 1
22 | ENGINEERING WORKS | LOT | 1
23 | OTHER WORKS | LOT | 1
Total Price:

## Cap (hidden)
| No | unit price | final price
Capacitor unit (300kVAr) | 12 | 140000000 | 1680000000
UCT | 2 | 240000000 | 480000000
LA | 3 | 18000000 | 54000000
Sure Cunter | 1 | 36000000 | 36000000
LBS | 2 | 3240000000 | 6480000000
Structure | 1 | 500000000 | 500000000
Damping reactor | 6 | 240000000 | 1440000000
PI (Lot) | 1 | 100000000 | 100000000
Bus work | 1 | 350000000 | 350000000
Fuse | 12 | 60000000 | 720000000
Sum |  |  | 11840000000 | 1.7 | factor

## relay (hidden)
| ردیف | FUNCTION | تیپ رله | تعداد | قیمت واحد (یورو) | قیمت کل
TRANSFORMER FEEDER & 20KV INCOMMING
| 1 | 87T | 7UT612 | 1 | 3864 | 3864
| 2 | OC/EF HV | 7SJ600 | 1 | 854 | 854
| 3 | MV Pro. | 7SJ80 | 1 | 854 | 854
| 4 | SENSITIVE E.F | P120 |  | 725 | 0
| 5 | TRIP | 7PA27 | 3 | 163 | 489
| 6 | CLOSE | 7PA27 | 1 | 163 | 163
| 7 | MEC. PROTECTION | 7TS16 | 3 | 451 | 1353
| 8 | LOCK OUT | 7PA23 | 2 | 237 | 474
| 9 | TCS | 7PA30 | 2 | 176 | 352
| 10 | SENSITIVE E.F | P120 |  | 725 | 0
| 11 | EF | P122 |  | 854 | 0
| 12 | TEST BLOCK | 2RMLG01 | 5 | 200 | 1000
| 13 | PROTECTION PANEL |  | 1 | 1354 | 1354
|  | TOTAL PRICE |  |  |  | 10757 | 3227100000
20KV OUTGOING
| 1 | SENSITIVE E.F | P120 |  | 725 | 0
| 2 | Feeder Pro. | 7SJ80 | 1 | 854 | 854
| 3 | TRIP | 7PA27 | 1 | 163 | 163
| 4 | TCS | 7PA30 |  | 176 | 0
| 5 | LOCK OUT | 7PA23 | 1 | 237 | 237
| 6 | CLOSE | 7PA27 | 1 | 163 | 163
269.5 | 7 | TEST BLOCK | 2RMLG01 | 1 | 200 | 200
| 8 | PROTECTION PANEL |  |  | 1354 | 0
|  | TOTAL PRICE |  |  |  | 1617
CAPACITOR FEEDER
| 1 | SENSITIVE E.F | P120 | 1 | 725 | 725
| 2 | EF | P122 |  | 854 | 0
| 3 | UNBALANCE | P120 | 1 | 725 | 725
| 4 | TRIP | 7PA27 | 1 | 163 | 163
| 5 | TCS | 7PA30 |  | 176 | 0
| 6 | LOCK OUT | 7PA23 | 1 | 237 | 237
| 7 | CLOSE | 7PA27 | 1 | 163 | 163
| 8 | TREST BLOCK | 2RMLG01 | 1 | 200 | 200
|  | TOTAL PRICE |  |  |  | 2213
COUPLER (1 FEEDER)
| 1 | Feeder Pro. | 7SJ602 | 1 | 854 | 854
| 2 | TRIP | 7PA27 | 1 | 163 | 163
| 3 | TCS | 7PA30 |  | 176 | 0
| 4 | LOCK OUT | 7PA23 | 1 | 237 | 237
| 5 | CLOSE | 7PA27 |  | 237 | 0
| 6 | Bus Pro. | 7RW600 | 1 | 1780 | 1780
| 7 | TREST BLOCK | 2RMLG01 | 2 | 200 | 400
|  | TOTAL PRICE |  |  |  | 3434

## SUMMARY
خلاصه پیشنهاد قیمت پروژه در بخش تامین تجهیزات و عملیات نصب، تست وراه اندازی توسعه دو فیدر خروجی 20 کیلوولت پست 63/20 کیلوولت دهرم
مبلغ کل (ریال) | موضوع | ردیف
| هزینه خدمات طراحی و مهندسی | 1
| هزینه خرید تجهیزات | 2
| هزینه حمل ونقل وبیمه | 3
| هزینه نصب وتست وراه اندازی کلیه تجهیزات بصورت کامل | 4
| هزینه عملیات ساختمانی (کانال دفنی، فونداسیون زیر کانکس و ... مطابق با نقشه ها و شرح خدمات) | 5
جمع کل مبلغ پیشنهادی در بخش توسعه فیدرهای پست: ( ریال)